## I&C STORE MANAGEMENT
I&C STORE MANAGEMENT
BOX | POSITION | CODE | DESCRIPTION | QUANTITY | CURRENT STOCK
CV1 |  | CMX-FV403-CAGE |  | 1
|  | CMX-FV403-SEAT RING |  | 1
|  | CMX-FV403-GASKET KIT |  | 1
|  | CMX-FV403-BUSHING |  | 1
|  | CMX-FV403-STEM |  | 1
|  | CMX-TV611/612-GASKET SEAT RING |  | 1
|  | CMX-TV611/612-GASKET SPIRAL WOUND |  | 1
|  | CMX-TV611/612-SEAT RING |  | 1
|  | CMX-TV611/612-PACKING |  | 7
|  | CMX-TV611/612-BUSHING PRESS FIT |  | 1
|  | CMX-TV611/612-CAGE |  | 1
|  | CMX-TV611/612-PLUG |  | 1
|  | CMX-TV611/612-INNER SEAL RING |  | 1
|  | CMX-TV611/612-SEAL RING |  | 1
|  | CMX-LV403-BUSHING |  | 1
|  | CMX-LV403-SEAT RING |  | 1
|  | CMX-LV403-CAGE |  | 1
|  | CMX-LV403-STEM |  | 1
|  | CMX-LV406/LV603/PV402-STEM |  | 1
|  | CMX-LV406/LV603/PV402-STEM & 0RING |  | 1
|  | CMX-LV406/LV603/PV402-TRIM SET |  | 1
|  | CMX-LV406/LV603/PV402-PLUG |  | 1
|  | CMX-LV406/LV603/PV402-SEAT RING |  | 1
|  | CMX-LV406/LV603/PV402-PACKING |  | 1
|  | CMX-LV406/LV603/PV402-CAGE |  | 1
|  | CMX-LV406/LV603/PV402-DIAPHRAGM |  | 1
|  | CMX-LV406/LV603/PV402-GASKET |  | 1
|  | CMX-PV605-PLUG |  | 1
|  | CMX-PV605-SPRING |  | 1
|  | CMX-PV605-SEAT RING |  | 1
|  | CMX-PV605-PIN GROOVE |  | 1
|  | CMX-PV605-GASKET KIT |  | 1
|  | CMX-PV605-BUSHING |  | 1
|  | CMX-PV605-STEM |  | 1
|  | CMX-LV402-CAGE |  | 1
|  | CMX-LV402-SEAT |  | 1
|  | CMX-FUV403-GASKET KIT |  | 1
|  | CMX-FUV403-BUSHING |  | 1
CV2 |  | CMX-FUV301-GASKET KIT |  | 1
|  | CMX-FUV301-BUSHING |  | 1
|  | CMX-FUV301-PIN GROOVE |  | 1
|  | CMX-FUV301-SEAT RING |  | 1
|  | CMX-FUV301-DIAPHRAGM |  | 1
|  | CMX-FUV301-CAGE |  | 1
|  | CMX-FUV301-PLUG |  | 1
|  | CMX-CV-CAGE-3" |  | 1
|  | CMX-CV-SEAT RING-1" |  | 3
|  | CMX-CV-SEAT RING-1.5" |  | 3
|  | CMX-CV-SEAT RING-2" |  | 3
|  | CMX-CV-SEAT RING-3" |  | 3
|  | CMX-CV-SEAT RING-4" |  | 3
|  | CMX-CV-DIAPHRAGM-4.5" |  | 4
|  | CMX-CV-DIAPHRAGM-6" |  | 3
|  | CMX-CV-PACKING-1" |  | 4
|  | CMX-CV-BUSHING-0.75"-2.5" |  | 1
|  | CMX-CV-GASKET-0.75"-1" |  | 1
|  | CMX-CV-PACKING-1.25" |  | 1
|  | CMX-CV-PACKING-1" |  | 1
|  | CMX-CV-PACKING-0.75" |  | 1
ZEHUA-1 |  | ZEHUA-H001-FLAME-SCANNER-JOINTER | H001 FLAME SCANNER JOINTER | 1
|  | ZEHUA-WIRELESS-THUM-ADPT |  | 4
|  | ZEHUA-H001-IGN-CIRCUIT | H001 IGNITION CIRCUIT | 2
|  | ZEHUA-H001-RELAY-24VDC | IDEC RELAY 24VDC - 8 PIN | 22
|  | ZEHUA-H001-RELAY-BASE | IDEC RELAY BASE-SJ2S-05B - 8 PIN | 22
|  | ZEHUA-H001-FLAME-SAFEGUARD | NOT FOUND, NEED TO CHECK | 1
|  | ZEHUA-H001-FLAME-SCANNER-C7027A-1023 | H001 FLAME SCANNER-C7027A-1023 | 4
|  | ZEHUA-H001-FLAME-SCANNER-C7027A-1049 | H001 FLAME SCANNER-C7027A-1049 | 2
|  | ZEHUA-H001-FLAME-DETECTOR-R4343-E1014 | H001 FLAME DETECTOR-R343-E1014 | 2
|  | ZEHUA-H001-RELAY-230VAC | Schneider Electric 230VAC Relay- RXM4AB2P7 - 14 PIN | 2
|  | ZEHUA-H001-RELAY-24VDC | Schneider Electric 24VDC Relay-RXM4AB2BD - 14 PIN | 4
|  | ZEHUA-H001-RELAY-BASE | Schneider Electric RELAY BASE-RXZE2M114M - 14 PIN | 4
|  | ZEHUA-H001-RELAY+BASE-230VAC | Schneider Electric 230VAC Relay | 1
|  | ZEHUA-H001-SOV-24V | H001 DAMPER 24VDC SOLENIOD | 2
FLARE |  | FLARE-SOL-VLV-24VDC |  | 1
|  | FLARE-SOL-COIL-110VAC |  | 1
|  | FLARE-IGNITION-PROBE | FLARE INSTAFIRE IGNITION PROBE ASSEMBLY | 4
|  | FLARE-CONTROL-MODULE | FLARE IGNITION CONTROL MODULE, KEP-100 | 4
|  | FLARE-IGNITION-XF | FLARE IGNITION TRANSFORMER, 230VAC(P)-6000VAC(S) | 3
|  | FLARE-PILOT-SET | WP4 WIND PROOF INSTAFIRE PILOT ASSEMBLY FULL SET | 1
|  | FLARE-IGNITION-WIRE | FLARE IGNITION WIRE, 12GA , 450 Degeree , 600V | 150 M
|  | FLARE-SELF-FUSING-ELECTRICAL-TAPE | FLARE SELF FUSING ELECTRICAL TAPE | 2
POSITIONER-1 |  | POSITIONER-SIEMENS-SIPART-PS2-SA | SINGLE ACTING SIEMENS SIPRAT-PS2 POSITIONER | 0
|  | POSITIONER-SIEMENS-SIPART-PS2-DA | DOUBLE ACTING SIEMENS SIPRAT-PS2 POSITIONER | 1
POSITIONER-2 |  | POSITIONER-SIEMENS-SIPART-PS2-SA | SINGLE ACTING SIEMENS SIPRAT-PS2 POSITIONER | 2
|  | POSITIONER-MASONEILAN-SVI-II | MASONEILAN SVI-II POSITIONER | 2
PLC-1 |  | PLC-AB-1734-OB8 |  | 2
|  | PLC-AB-1734-IE4C |  | 3
|  | PLC-AB-1734-IE8C |  | 5
|  | PLC-AB-1734-IR2 |  | 1
|  | PLC-AB-1734-IB8 |  | 5
|  | PLC-AB-1734-OE2C |  | 1
|  | PLC-AB-1734-AENT |  | 1
LG |  | LG-GLASS-JERGUSON-11" |  | 1
|  | LG-GLASS-JERGUSON-12" |  | 1
|  | LG-GLASS-JERGUSON-13" |  | 2
|  | LG-GLASS-JERGUSON-15" |  | 0
|  | LG-GLASS-JERGUSON-18" |  | 3
|  | LG-GLASS-VIEWIT-12" |  | 1
|  | LG-GASKET-JERGUSON-11" |  | 1
|  | LG-GASKET-JERGUSON-12" |  | 1
|  | LG-GASKET-JERGUSON-13" |  | 1
|  | LG-GASKET-JERGUSON-15" |  | 1
|  | LG-GASKET-JERGUSON-18" |  | 1
|  | LG-GASKET-JERGUSON-20" |  | 1
LPG-1 |  | LPG-CUC |  | 2
|  | LPG-CUC-PS-CABLE |  | 1
|  | LPG-PSU |  | 1
|  | LPG-CUC-HMI/CTRL |  | 4
|  | LPG-ODORANT-CTRL |  | 1
|  | LPG-INDUCTIVE-MAGNET-SENSOR |  | 2
|  | LPG-ODORISER-BATTERY-G65-(SOV) |  | 1
|  | LPG-DOSING-PUMP-REPAIR-KIT |  | 1
|  | LPG-ODORISER-CYLINDER-REGULATOR |  | 1
|  | LPG-ADJ-PS |  | 1
RO-1 |  | RO-FI-10000 L/H |  | 1
|  | RO-LS |  | 1
|  | RO-PS-10 BAR |  | 2
|  | RO-PS-100 BAR |  | 2
|  | RO-COND/RSTY ELECTROD |  | 1
|  | RO-ORP-METER-WITH-SENSOR |  | 2
|  | RO-EMERSON-ORP-SENSOR |  | 0
|  | RO-EMERSON-COND-SENSOR |  | 1
ZEHUA-2 |  | ZEHUA-ACCOUSTIC & OPTICAL-INDICATOR |  | 4
DCS-1 (M SERIES) |  | DCS-M-AI |  | 1
|  | DCS-M-PSU |  | 1
|  | DCS-M-MQ-CTRL |  | 1
|  | DCS-M-AO |  | 2
|  | DCS-M-DI+TERMINAL |  | 1
|  | DCS-M-FUSE-TERMINAL |  | 30
|  | DCS-M-TERMINAL |  | 30
|  | DCS-M-FUSE-1A |  | 30
|  | DCS-M-LB-KLB2.6 |  | 20
|  | DCS-M-BARRIER-AI-KCD2-STC-EX1 |  | 8
|  | DCS-M-BARRIER-AO-KCD2-SCD-EX1 |  | 8
|  | DCS-M-BARRIER-AI-KFD2-STC4-EX1 |  | 3
|  | DCS-M-DO-32 CH |  | 1
|  | DCS-M-AO-8 CH |  | 1
|  | DCS-M-DI-32 CH |  | 1
|  | DCS-M-AI-8 CH |  | 1
H401/60X IG ACCESSORIES-1 |  | CMX-H401/60X-TIP-FLAME-IGNITION-ROD |  | 6
|  | CMX-H401/60X-INSULATOR-PILOT-CERAMIC-0249 |  | 4
|  | CMX-H401/60X-IGN-ROD-FEED-THROUGH-ASSM |  | 5
|  | CMX-H401/60X-ATMR-OIL-CB07 |  | 2
|  | CMX-H401/60X-ATMR-OIL-CB08 |  | 1
|  | CMX-H401/60X-SPUD-ORIFICE-PILOT |  | 3
|  | CMX-H401/60X-TIP-OIL-CB07 |  | 2
|  | CMX-H401/60X-INSULATOR-PILOT-CERAMIC-0239 |  | 2
COMMON-1 |  | PROSENSE-TT(TC) |  | 9
|  | AIR-REG-10B |  | 2
|  | TEMP-CTRL-HONEYWELL-DC1020 |  | 1
|  | TT-ROSEMOUNT-644H |  | 0
|  | LOOP-POWER-INDICATOR |  | 1
|  | CMX-LSL-407-0.5" |  | 1
|  | AC-POWER-CORD-10A |  | 5
|  | AC-POWER-CORD-16A |  | 0
|  | LG-FLOAT-MGT-620KG/M3 | MAGNET TYPE LG, DENSITY 620 KG/M3 | 5
|  | SOV-ASCO-24V-3/4"-NFG | ASCO 24VDC 3/4 INCH SOLENOID | 2
|  | SOV-ASCO-24V-1/4"-NF8 | ASCO 24VDC 1/4 INCH SOLENOID | 2
|  | SOV-ASCO-220VAC-1/2"-EF8202G5 | ASCO 220VAC 1/2 INCH SOLENOID | 0
|  | SOV-ASCO-24VDC-1/4"-EF8004A1 | ASCO 24VDC 1/4 INCH SOLENOID | 1
|  | SOV-ASCO-24VDC-1/4"-EF8003G1 | ASCO 24VDC 1/4 INCH SOLENOID | 3
|  | SOV-ASCO-24VDC-1/4" | ASCO 24VDC 1/4 INCH SOLENOID | 1
|  | SOV-STAC-220V-3/4"-2W-200-20 | STACK 220VAC 3/4INCH SOLENOID, MODEL-2W-200-20, NO VENT POINT | 2
|  | PS-DUNG-50MBAR |  | 1
PT PROCESS CONNECTOR + BOLT |  | PT-PRCS-CONNECTOR |  | 25
|  | PT-CONNECTOR-BOLT |  | 25
AIR-COMPRESSOR-1 |  | AIR-COMP-HMI-LCD |  | 1
PLC-2 |  | PLC-SCHN-BASE |  | 1
|  | PLC-SCHN-PSU |  | 1
|  | PLC-SCHN-BMX-P342020 |  | 1
|  | PLC-SCHN-N0E0100 |  | 2
|  | PLC-SCHN-M340-SET |  | 1
COMMON-2 |  | DC-UPS-24VDC-20A+DIODE-UNIT |  | 1
|  | PSU-24VDC-10A | SCHNIDER ELECTRIC PSU | 1
|  | PSU-24VDC-20A | SCHNIDER ELECTRIC PSU | 1
|  | ETHERNET-TO-OPTICAL-CONVERTER |  | 3
|  | FERRUL-PRINTER-INK |  | 4
|  | FERRUL |  | 1
|  | DVI-CABLE-10M |  | 2
|  | ETH-TO-OPTICAL-CONVERTER-POWER-CABLE |  | 2
|  | ETH-SWITCH-4P |  | 3
|  | DC-PSU-24V-10A | SOLA PSU | 0
|  | ETH-SWITCH-4P-1O |  | 1
|  | ETH-SWITCH-8P |  | 1
PLC-3 |  | PLC-SIEMENS-CM1241 |  | 2
|  | PLC-SIEMENS-CPU-1215C |  | 2
|  | PLC-SIEMENS-CPU-1214C |  | 1
PLC-SIEMENS-
K602-1 |  | K602-PROXIMITY-SNSR-CABLE |  | 4
|  | K602-PROXIMITY-SENSOR |  | 4
|  | K602-TEMP-SWITCH |  | 2
|  | K602-VLV-AIR-3WAY |  | 1
|  | K602-FRL-UNIT |  | 1
RO-2 |  | RO-EMERSON-ORP/COND-TRANS-1056 |  | 1
PLC-4 |  | PLC-AB-1769-IF8 |  | 7
|  | PLC-AB-1769-IF4I |  | 2
|  | PLC-AB-1769-OF8C |  | 3
|  | PLC-AB-1769-IF8U |  | 2
PLC-5 |  | PLC-AB-1769-PB2 |  | 3
|  | PLC-AB-1769-PA2 |  | 2
|  | PLC-AB-1769-ECR |  | 5
|  | PLC-AB-1769-L30ER |  | 1
|  | PLC-AB-1769-L32E |  | 3
|  | PLC-AB-1769-L24ER-QB1B |  | 1
PLC-6 |  | PLC-AB-1769-IQ16 |  | 6
|  | PLC-AB-1769-IQ32T |  | 3
|  | PLC-AB-1769-IQ32 |  | 1
|  | PLC-AB-1769-IA16-110V |  | 3
|  | PLC-AB-1769-OW8I |  | 3
|  | PLC-AB-1769-OW8 |  | 2
|  | PLC-AB-1769-OW16 |  | 5
|  | PLC-AB-1769-IM12 |  | 3
|  | PLC-AB-1769-OB16 |  | 2
DCS-2 (S SERIES) |  | DCS-DELTAV-S-8-WIDE-I/O-INTERFACE-CARR |  | 1
|  | DCS-DELTAV-S-POWER-CONTROLLER-CARRIER |  | 1
|  | DCS-DELTAV-S-CHARM-I/O-CARRIER |  | 1
|  | DCS-DELTAV-S-CHARM-BASEPLATE |  | 1
|  | DCS-DELTAV-S-CHARM-BASEPLATE-EXTENDER-CABLE |  | 2
|  | DCS-DELTAV-S-TOP-CHARM-COLUMN-TERM |  | 1
|  | DCS-DELTAV-S-BOTTOM-CHARM-COLUMN-TERM |  | 1
|  | DCS-DELTAV-S-BOTTOM-CHARM-EXTENDER |  | 1
|  | DCS-DELTAV-S-CHARM-BASEPLATE-ID-LABLE |  | 1
|  | DCS-DELTAV-S-FINAL-ASSEMBLY-POWER-PLUG-BASS |  | 9
|  | DCS-DELTAV-S-FIBER-I/O-PORT |  | 2
|  | DCS-DELTAV-S-ADDRESS-PLUG |  | 32
|  | DCS-DELTAV-S-CHARM-AO |  | 5
|  | DCS-DELTAV-S-CHARM-AI |  | 3
|  | DCS-DELTAV-S-CHARM-DI |  | 8
|  | DCS-DELTAV-S-CHARM-DO |  | 10
DCS-3 (S SERIES) |  | DCS-DELTAV-S-DI-CARD-8-CH |  | 1
|  | DCS-DELTAV-S-CIOC |  | 2
|  | DCS-DELTAV-S-SD-PLUS-CONTROLLER |  | 1
|  | DCS-DELTAV-S-VIM |  | 1
|  | DCS-DELTAV-S-PSU |  | 1
|  | DCS-DELTAV-S-PROLINX |  | 3
SWITCH-1 |  | ETH-SWITCH-6P-2OP-HRISHMAN | HRISHMAN RSB20 MODEL RAIL SWITCH, 6 ETH & 2 OPTICAL PORT | 2
|  | ETH-SWITCH-16P-HRISHMAN | HRISHMAN RS20 MODEL RAIL SWITCH, 16 ETH PORT | 3
K601A/B/C |  | CMX-K601A/B-PS-50PSI | K601A/B PRESSURE SWITCH-50PSI | 1
|  | CMX-K601A/B-PS-100PSI | K601A/B PRESSURE SWITCH-100PSI | 2
|  | CMX-K601C-DPI-20PSID | K601C DPI-20PSID | 1
|  | CMX-K601A/B/C-LS | K601A/B/C LEVEL SWITCH | 2
|  | CMX-K601A/B-NFS | K601A/B NO FLOW SWITCH | 2
CMX-COM-1 |  | CMX-LS-MGT | MAGNET TYPE LEVEL SWITCH | 3
|  | CMX-VS | VIBRATION SWITCH-VS102 MODEL | 2
JB-BLIND |  | JB-BLIND-M20x1.5 | JB BLIND M20x1.5 | 117
|  | JB-BLIND-M25x1.5 | JB BLIND M25x1.5 | 3
|  | JB-BLIND-M40x1.5 | JB BLIND M40x1.5 | 16
SUNITA HOT OIL HEATER SPARE H-302 |  | FLAME-SENSOR | FLAME SENSOR, FFS07 | 2
|  | BMS-ETAMATIC-OEM-110V | BMS(Burner control unit ETAMATIC OEM 110V) | 1
|  | IG-ROD-PILOT | IGNITION ROD PILOT | 2
|  | IG-XF-PILOT | IGNITION TRANSFORMER PILOT, TRK2-30PUVD, P-110VAC,S-1*15KVA,30MA | 1
|  | IG-XF-OIL | IGNITION TRANSFORMER LIGHT OIL,TRK2-30UVD,P-110VAC,S-2*12KV,30MA | 1
|  | PS-DUNG-AIR | DUNG PRESSURE SWITCH AIR MODEL-DIFF.GGW50A4/2 ATEX,2.5-50MBAR | 1
|  | PS-MIN-OIL | TRAFOG PRESSURE SWITCH FOR MINIMUM OIL,1-10BAR | 1
|  | PS-MAX-OIL | TRAFOG PRESSURE SWITCH FOR MAXIMUM OIL,4-40BAR | 1
|  | ACTUATOR-AIR-DAMPER | AIR DAMPER ACTUATOR | 1
|  | PLC-AB-1734-OB8 | 8 CHANNEL POINT I/O Digital Output Module,1734-OB8 | 1
|  | PLC-AB-1734-IE8C | 8 CHANNEL POINT I/O Analog Input Module,1734-IE8C | 1
|  | PLC-AB-1734-IB8 | 8 CHANNEL POINT I/O Digital Input Module,1734-IB8 | 1
|  | PLC-AB-1734-OE4C | 4 CHANNEL POINT I/O Analog Output Module,1734-OE4C | 1
|  | PLC-AB-1734-TOP-A | POINT I/O TERMINAL BASE,1734-TOP-A | 1
|  | RELAY-OMRON-240VAC | OMRON GLASS RELAY-2CO-240VAC | 3
|  | SOV- | SHUTOFF VALVE FOR DIESEL, NC SOLENOID VALVE | 1
PUSH FITTINGS |  | 12x12 PNEUMATIC JOINTER | 12x12 PNEUMATIC JOINTER | 11
|  | 12x06 PNEUMATIC JOINTER | 12x06 PNEUMATIC JOINTER | 12
|  | 12x08 PNEUMATIC JOINTER | 12x08 PNEUMATIC JOINTER | 12
|  | 08x08x08 PNEUMATIC T | 08x08x08 PNEUMATIC T | 12
|  | 12x12x12 PNEUMATIC T | 12x12x12 PNEUMATIC T | 12
|  | 04x04x04 PNEUMATIC T | 04x04x04 PNEUMATIC T | 12
|  | 08x08 PNEUMATIC JOINTER | 08x08 PNEUMATIC JOINTER | 12
|  | 1/4x04 PNEUMATIC PUSH FITTING | 1/4x04 PNEUMATIC PUSH FITTING | 24
|  | 1/4x3/8 SS REDUCER | 1/4x3/8 SS REDUCER | 12
|  | 1/4x12 PNEUMATIC JOINTER | 1/4x12 PNEUMATIC JOINTER | 24
|  | 1/2x10 PNEUMATIC PUSH FITTING | 1/2x10 PNEUMATIC PUSH FITTING | 12
|  | 1/2x06 PNEUMATIC PUSH FITTING | 1/2x06 PNEUMATIC PUSH FITTING | 12
|  | 04x04 PNEUMATIC PUSH FITTING | 04x04 PNEUMATIC PUSH FITTING | 12
|  | 1/4x08 PNEUMATIC PUSH FITTING | 1/4x08 PNEUMATIC PUSH FITTING | 12
|  | 1/2x08 PNEUMATIC PUSH FITTING | 1/2x08 PNEUMATIC PUSH FITTING | 12
CABLE GLAND |  | M20/1.5 304 | M20/1.5 304 - JB Cable Gland | 82
|  | M20/1.5 | M20/1.5 | 182
|  | NPT 1/2B 304 | NPT 1/2B 304 | 91
DCS-4 (ABB) |  | DCS-ABB-CI854AK01-DP | Communication Module Master - CI854AK01 PROFIBUS-DP/V1 interface | 1
|  | DCS-ABB-CI854AK01-TCP | Modbus Communication Module Master - CI867K01 Modbus TCP Interface | 1
|  | DCS-ABB-AI-AI810 | Analog Input Module AI810, 8 ch WITH BASE (TU810V1) | 1
|  | DCS-ABB-AO-AO810 | Analog Output Module AO810, 8 ch WITH BASE (TU810V1) | 1
|  | DCS-ABB-CI840A-WITH-BASE | Communication Module CI840 WITH BASE (TU847) | 1
|  | DCS-ABB-PROFIBUS-CONNECTOR | PROFIBUS CONNECTOR | 1