## Products
Item No | Product Name | Brand | Model | Quantity | Size | Type | Range | Store | Rack | Column | Row | Box | Description | Plant Name | Part No | Tag
000001 | PRESSURE SWITCH |  |  | 4 | 1/4 | SENSOR | 0.1-0.15 BAR | 1 | 2 | 5 | 2 | H-302 | PRESSURE SWITCH FOR H-302. 24VDC/220AC RELAY | BTX | PS-0.15 BAR | --
000002 | BMS | ETAMATIC |  | 1 | -- | CONTROLLER | -- | 1 | 2 | 5 | 2 | H-302 | H-302 BMS. | BTX | BMS-ETAMATIC-OEM-110V | --
000003 | FLAME SCANNER |  |  | 2 | -- | SENSOR | -- | 1 | 2 | 5 | 2 | H-302 | FLAME SENSOR FF207 | BTX | FLAME-SNSR-FF207 | --
000004 | PILOT IGNITION |  |  | 2 | -- | IGNITION | -- | 1 | 2 | 5 | 2 | H-302 | PILOT IGNITION | BTX | IG-ROD-PILOT | --
000005 | IGNITION TRANSFORMER |  |  | 2 | -- | TRANSFORMER | 110VAC | 1 | 2 | 5 | 2 | H-302 | PILOT IGNITION TRANSFORMER | BTX | IG-XF-110V | --
000006 | PRESSURE SWITCH | TRAFAG |  | 1 | -- | SENSOR | 1-10 BAR | 1 | 2 | 5 | 2 | H-302 | DIESEL PRESSURE SWITCH | BTX | PS-MIN-OIL | --
000007 | PRESSURE SWITCH | TRAFAG |  | 1 | -- | SENSOR | 4-40 BAR | 1 | 2 | 5 | 2 | H-302 | DIESEL PRESSURE SWITCH | BTX | PS-MAX-OIL | --
000008 | IO CARD | AB | 1734-IB8 | 1 | -- | DIGITAL INPUT | 24VDC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | PLC-DI-1734-IB8
000009 | IO CARD | AB | 1734-OE4C | 1 | -- | ANALOG OUTPUT | 24VDC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | PLC-AO-1734-OE4C
000010 | IO CARD | AB | 1734-OB8 | 1 | -- | DIGITAL OUTPUT | 24VDC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | PLC-DO-1734-OB8
000011 | IO CARD | AB | 1734-IE8C | 1 | -- | ANALOG INPUT | 24VDC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | PLC-AI-1734-IE8C
000012 | IO CARD BACK-PANE | AB | 1734-TOP | 1 | -- | IO RACK | 24VDC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL SPARE | BTX | PLC-BACKPANE-1734-TOP
000013 | SOLENOID COIL |  | 495905E5 | 1 | -- | SOLENOID | 115VAC | 1 | 2 | 5 | 2 | H-302 | H-302 DIESEL SOLENOID | BTX | SOV-DIESEL
000014 | 8 PIN RELAY | SIEMENS | 7RQ0201-1BX00 | 3 | -- | RELAY | 110VAC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | RELAY-SIEMENS-7RQ0201-1BX00-240VAC
000015 | 8 PIN RELAY | OMRON | OMRON | 2 | -- | RELAY | 220VAC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | RELAY-OMRON-220VAC
000016 | SERVO MOTOR | ROLOFF |  | 1 | -- | RELAY | 115VAC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER SPARE | BTX | RELAY-ROLOFF-115VAC
000017 | BURNER CONTROLLER | HONEYWELL | EC7823 | 5 | -- | CONTROLLER | 110VAC | 1 | 2 | 4 | 2 | H-601,2,3 | HONEYWELL WITH AMPLIFIER CARD R7847 | CHEMEX | BMS-HONEYWELL-EC7823
000018 | IGNITION TRANSFORMER | DONGAN | F06-SA6 | 1 | -- | CONTROLLER | 220VAC | 1 | 2 | 4 | 2 | H-601,2,3 |  | CHEMEX | IG-XF-DONGAN-220VAC
000019 | BURNER CONTROLLER | RATIOTRONIC | 6006 | 1 | -- | CONTROLLER | 110 VAC/ 250 VAC | 1 | 2 | 4 | 2 | BOILER | BOILER BURNER CONTROLLER | BOILER | BLR-CONTROLLER-RATIOTRONIC-6006-110 VAC/ 250 VAC
000020 | SERVO MOTOR | RATIOTRONIC | 6026 | 3 | -- | ACTUATOR | -- | 1 | 2 | 4 | 2 | BOILER | BOILER DAMPER SERVO MOTOR | BOILER | BLR-ACTUATOR-RATIOTRONIC-6026---
000021 | PRESSURE SWITCH | RATIOTRONIC | GGW 150 A4/2X | 2 | 1/4 inch | PS | 500 mbar | 1 | 2 | 4 | 2 | BOILER | BOILER SPARE ITEM | BOILER | BLR-PS-RATIOTRONIC-GGW 150 A4/2X-500 mbar
000022 | LEVEL CONTROLLER | RATIOTRONIC | LC3050 | 2 | -- | CONTROLLER | 220VAC | 1 | 2 | 4 | 2 | BOILER | BOILER SPARE ITEM | BOILER | BLR-CONTROLLER-RATIO TRONIC-LC3050-220VAC
000023 | VFD DISPLAY | DUNPHY | ETCRAT00755 | 1 | -- | DISPLAY |  | 1 | 2 | 4 | 2 | BOILER | BOILER SPARE ITEM | BOILER | BLR-DISPLAY-DUNPHY-ETCRAT00755-
000024 | PRESSURE TRANSMITTER | WIKA | A10 | 1 | 0.5 inch | PT | 10 bar | 1 | 2 | 4 | 2 | BOILER | BOILER SPARE ITEM | BOILER | BLR-PT-WIKA-A10-10 bar
000025 | SOLENOID VALVE | SIEMENS | 321H2322 | 1 | 0.5 inch | SOLENOID | 30 BAR | 1 | 2 | 4 | 2 | BOILER |  | BOILER | BLR-SOLENOID-SIEMENS-321H2322-30 BAR
000026 | OVERLOAD RELAY | PARKER | 3RU2116-1JB0 | 1 | 0.5 inch | RELAY | 10 A | 1 | 2 | 4 | 2 | BOILER | BOILER SPARE PART | BOILER | OLR-PARKER-10A
000027 | MAGNETIC CONTACTOR | SIEMENS | 3RT2016-1APO1 | 1 | -- | CONTACTOR | 220VAC | 1 | 2 | 4 | 2 | BOILER |  | BOILER | CONTACTOR-SIEMENS-3RT2016-1APO1
000028 | IGNITION TRANSFORMER | SIEMENS | ZA 20 100 LH 21 | 2 | -- | TRANSFORMER | 220VAC | 1 | 2 | 4 | 2 | BOILER |  | BOILER | IG-XF-SIEMENS-ZA 20 100 LH 21
000029 | IGNITION ROD |  |  | 2 | -- | IGNITION | -- | 1 | 2 | 4 | 2 | BOILER |  | BOILER | BLR-IG-ROD
000030 | PILOT IGNITION |  |  | 2 | -- | IGNITION | -- | 1 | 2 | 5 | 2 | H-302 | PILOT IGNITION | BTX | IG-ROD-PILOT | --
000031 | IGNITION TRANSFORMER | SIEMENS | ZA 20 100 LH 21 | 2 | -- | TRANSFORMER | 220VAC | 1 | 2 | 4 | 2 | BOILER |  | BOILER | IG-XF-SIEMENS-ZA 20 100 LH 21