## Products
Item No | Product Name | Quantity | Size | Type | Range | Store | Rack | Column | Row | Box | Description | Plant Name | Part No | Tag
000001 | CONTROL VALVE | 8 | 2'' | CV | 150 | STORE 1 | 1 | 2 | 5 | 1 | MASONEILAN CONTROL VALVE | REFORMER 2 | REF02-CV-150 | --
000002 | PRESSURE TRANSMITTER | 0 | 0.5 | PT | 150 | 1 | 2 | 4 | 3 | 2 | PRESSURE | REFORMER 2 | REF02-PT-150 | --
000003 | CONTROL VALVE | 2 | 2'' | CV | 150 | STORE 1 | 1 | 2 | 50 | 1 | MASONEILAN CONTROL VALVE Item no 23 | REFORMER 2 | REF02-CV-150 | --
000004 | SOLENOID VALVE | 2 | 0.5 | SV | 24VDC | 1 | 1111 | 2 | 444 | 1 | SOLENOID VALVE SPARE FROM REF02 | REFORMER 2 | REF02-SV-24VDC | --
000005 | POWER SUPPLY | 0 | -- | PSU | 24V 10A | 1 | 1 | 2 | 3 | 5 | POWER SUPPLY | CHEMEX | CHE-PSU-24V 10A | SOLA
000006 | SHUTOFF VALVE | 21 | 0.5 | XV | 150 | 1 | 1 | 2 | 22 | 1 | SHUTOFF VALVE | FLARE | FLA-XV-150 | --
000007 | FLAME SENSOR | 4 | -- | FLAME SENSOR | 24VDC | 1 | 1 | 2 | 3 | 1 | FLAME SENSOR . NO NC TYPE . ANALOG OUTPUT TYPE | REFORMER 2 | REF02-FLAME SENSOR-24VDC | --
000008 | BALL VALVE | 0 | 0.5'' | MECHANICAL | 100 | 1 | 1 | 2 | 2 | 1 | BALL VALVE | SPARE | SPA-MECHANICAL-100 | --
000009 | DI CARD | 1 | - | IO CARD | - | 1 | 1 | 2 | 0 | PLC | AB DI CARD | REFORMER 2 | REF02-IO CARD-- | 5069-IB16
000010 | Temperature | 18 | 0.6 | TT | 600F | 1 | 4 | 2 | 25 | 1 | Temperature Transmitter | REFORMER 2 | REF02-TT-600F | TT-6022
000011 | PRESSURE TRANSMITTER | 20 | 0.5 | PT | 150 | 1 | 2 | 4 | 3 | 2 | PRESSURE | REFORMER 2 | REF02-PT-151 | --
000012 | CONTROL VALVE | 18 | 2'' | CV | 151 | STORE 2 | 1 | 2 | 5 | 1 | MASONEILAN CONTROL VALVE | REFORMER 2 | REF02-CV-151 | --
000013 | SOLENOID VALVE | 20 | 0.6 | SV | 24VDC | 1 | 1 | 2 | 2 | 1 | SOLENOID VALVE SPARE FROM REF03 | REFORMER 2 | REF02-SV-24VDC | --
000014 | POWER SUPPLY | 5 | -- | PSU | 24V 10A | 1 | 1 | 2 | 3 | 5 | POWER SUPPLY | CHEMEX | CHE-PSU-24V 10A | SOLA
000015 | SHUTOFF VALVE | 25 | 0.6 | XV | 150 | 1 | 1 | 2 | 22 | 1 | SHUTOFF VALVE | FLARE | FLA-XV-151 | --
000016 | FLAME SENSOR | 4 | -- | FLAME SENSOR | 24VDC | 1 | 1 | 2 | 3 | 1 | FLAME SENSOR . NO NC TYPE . ANALOG OUTPUT TYPE | REFORMER 2 | REF02-FLAME SENSOR-24VDC | --
000017 | BALL VALVE | 0 | 0.5'' | MECHANICAL | 100 | 1 | 1 | 2 | 2 | 1 | BALL VALVE | SPARE | SPA-MECHANICAL-101 | --
000018 | DI CARD | 2 | - | IO CARD AB | - | 1 | 1 | 2 | 3 | PLC-02 | AB DI CARD | REFORMER 2 | REF02-IO CARD AB-- | 5069-IB17
000019 | Temperature | 20 | 0.7 | TT | 600F | 1 | 4 | 2 | 2 | 1 | Temperature Transmitter | REFORMER 2 | REF02-TT-600F | TT-6023
000020 | PRESSURE TRANSMITTER | 22 | 0.5 | PT | 150 | 1 | 2 | 4 | 3 | 2 | PRESSURE | REFORMER 2 | REF02-PT-152 | --
000021 | CONTROL VALVE | 18 | 2'' | CV | 152 | STORE 3 | 1 | 2 | 555 | 1 | MASONEILAN CONTROL VALVE | REFORMER 2 | REF02-CV-152 | --
000022 | SOLENOID VALVE | 30 | 0.7 | SV | 24VDC | 1 | 1 | 2 | 2 | 1 | SOLENOID VALVE SPARE FROM REF04 | REFORMER 2 | REF02-SV-24VDC | --
000023 | POWER SUPPLY | 5 | -- | PSU | 24V 10A | 1 | 1 | 2 | 3 | 5 | POWER SUPPLY | CHEMEX | CHE-PSU-24V 10A | SOLA
000024 | SHUTOFF VALVE | 23 | 0.7 | XV | 150 | 1 | 1 | 2 | 22 | 1 | SHUTOFF VALVE | FLARE | FLA-XV-152 | --
000025 | FLAME SENSOR | 5 | -- | FLAME SENSOR | 24VDC | 1 | 1 | 2 | 3 | 1 | FLAME SENSOR . NO NC TYPE . ANALOG OUTPUT TYPE | REFORMER 2 | REF02-FLAME SENSOR-24VDC | --
000026 | BALL VALVE | 0 | 0.5'' | MECHANICAL | 100 | 1 | 1 | 2 | 2 | 1 | BALL VALVE | SPARE | SPA-MECHANICAL-102 | --
000027 | DI CARD | 2 | - | IO CARD | - | 1 | 1 | 2 | 3 | PLC | AB DI CARD | REFORMER 4 | REF02-IO CARD-- | 5069-IB18
000028 | CONTROL VALVE | 18 | 2''-300 | CV | 151 | STORE 2 | 1 | 2 | 5 | 1 | MASONEILAN CONTROL VALVE | REFORMER 2 | REF02-CV-151 | --
000029 | CONTROL VALVE | 1 | 2''-300 | CV | 150 PSI | STORE 1 | 1 | 2 | 2 | - | MASONEILAN CONTROL VALVE | REFORMER 2 | REF02-CV-150 PSI | TV-6002
000030 | SHUTOFF VALVE | 21 | 0.5 | XV | 150 | 1 | 1 | 2 | 22 | 1 | SHUTOFF VALVE | FLARE | FLA-XV-150 | --
000031 | SHUTOFF VALVE | 18 | 0.5 | XV | 150 | 1 | 1 | 2 | 22 | 1 | SHUTOFF VALVE | FLARE | FLA-XV-150 | --
000032 | SOLENOID VALVE | 30 | 0.5 | SV | 24VDC | 1 | 1 | 2 | 2 | 1 | SOLENOID VALVE SPARE FROM REF02 | REFORMER 2 | REF02-SV-24VDC | --
000033 | SHUTOFF VALVE | 21 | 0.5 | XV | 150 | 1 | 1 | 2 | 22 | 1 | SHUTOFF VALVE | FLARE | FLA-XV-150 | --
000034 | DI CARD | 2 | - | IO CARD | - | 1 | 1 | 2 | 3 | PLC | AB DI CARD | REFORMER 4 | REF-IO CARD-- | 5069-IB18
000035 | FLAME SENSOR | 2 | -- | FLAME SENSOR | 24VDC | 1 | 1 | 2 | 3 | 1 | FLAME SENSOR . NO NC TYPE . ANALOG OUTPUT TYPE | REFORMER 2 | REF02-FLAME SENSOR-24VDC | --
000036 | CONTROL VALVE | 12 | 2'' | CV | 150 | STORE 1 | 1 | 2 | 5 | 1 | MASONEILAN CONTROL VALVE | REFORMER 2 | REF02-CV-150 | --
000037 | DI CARD | -1 | - | IO CARD | - | 1 | 1 | 2 | 3 | PLC | AB DI CARD | REFORMER 4 | REF-IO CARD-- | 5069-IB18
000038 | Temperature | 80 | 0.5 | TT | 600F | 1 | 43 | 2 | 2 | 1 | Temperature Transmitter | REFORMER 2 | REF02-TT-600F | TT-6021
000039 | Temperature | 210 | 0.5 | TT | 600F | 1 | 43 | 2 | 2 | 1 | Temperature Transmitter | REFORMER 2 | REF02-TT-600F | TT-6021
000040 | PRESSURE TRANSMITTER | 1 | 0.5 inch | PT | 150 PSI | 1 | 1 | 3 | 2 | PT-102 | -- | REFORMER | REF-PT-150 PSI | --