## Products
Item No | Product Name | Brand | Model | Quantity | Size | Type | Range | Store | Rack | Column | Row | Box | Description | Plant Name | Part No | Tag
000001 | PRESSURE SWITCH |  |  | 4 | 1/4 | SENSOR | 0.1-0.15 BAR | 1 | 2 | 5 | 2 | H-302 | PRESSURE SWITCH FOR H-302. 24VDC/220AC RELAY | BTX | BTX-SENSOR-0.1-0.15 BAR | --
000002 | BMS | ETAMATIC |  | 1 | -- | CONTROLLER | -- | 1 | 2 | 5 | 2 | H-302 | H-302 BMS. | BTX | BTX-CONTROLLER--- | --
000003 | FLAME SCANNER |  |  | 2 | -- | SENSOR | -- | 1 | 2 | 5 | 2 | H-302 | FLAME SENSOR FF207 | BTX | FLAME-SENSOR-FF207 | --
000004 | PILOT IGNITION |  |  | 2 | -- | IGNITION | -- | 1 | 2 | 5 | 2 | H-302 | PILOT IGNITION | BTX | BTX-IGNITION--- | --
000005 | IGNITION TRANSFORMER |  |  | 2 | -- | TRANSFORMER | 110VAC | 1 | 2 | 5 | 2 | H-302 | PILOT IGNITION TRANSFORMER | BTX | BTX-TRANSFORMER-110VAC | --
000006 | PRESSURE SWITCH | TRAFAG |  | 1 | -- | SENSOR | 1-10 BAR | 1 | 2 | 5 | 2 | H-302 | DIESEL PRESSURE SWITCH | BTX | BTX-SENSOR-1-10 BAR | --
000007 | PRESSURE SWITCH | TRAFAG |  | 1 | -- | SENSOR | 4-40 BAR | 1 | 2 | 5 | 2 | H-302 | DIESEL PRESSURE SWITCH | BTX | BTX-SENSOR-4-40 BAR | --
000008 | IO CARD | AB | 1734-IB8 | 1 | -- | DIGITAL INPUT | 24VDC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | BTX-DIGITAL INPUT-24VDC
000009 | IO CARD | AB | 1734-OE4C | 1 | -- | ANALOG OUTPUT | 24VDC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | BTX-ANALOG OUTPUT-24VDC
000010 | IO CARD | AB | 1734-OB8 | 1 | -- | DIGITAL OUTPUT | 24VDC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | BTX-DIGITAL OUTPUT-24VDC
000011 | IO CARD | AB | 1734-IE8C | 1 | -- | ANALOG INPUT | 24VDC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | BTX-ANALOG INPUT-24VDC
000012 | IO CARD BACK-PANE | AB | 1734-TOP | 1 | -- | IO RACK | 24VDC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | BTX-IO RACK-24VDC
000013 | SOLENOID COIL |  | 495905E5 | 1 | -- | SOLENOID | 115VAC | 1 | 2 | 5 | 2 | H-302 | H-302 DIESEL SOLENOID | BTX | BTX-SOLENOID-115VAC
000014 | 8 PIN RELAY | SIEMENS | 7RQ0201-1BX00 | 3 | -- | RELAY | 110VAC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | BTX-RELAY-110VAC
000015 | 8 PIN RELAY | OMRON | OMRON | 2 | -- | RELAY | 220VAC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER PANEL. | BTX | BTX-RELAY-220VAC
000016 | SERVO MOTOR | ROLOFF |  | 1 | -- | RELAY | 115VAC | 1 | 2 | 5 | 2 | H-302 | H-302 HEATER | BTX | BTX-RELAY-115VAC
000017 | BURNER CONTROLLER | HONEYWELL | EC7823 | 5 | -- | CONTROLLER | 110VAC | 1 | 2 | 4 | 2 | H-601,2,3 | HONEYWELL WITH AMPLIFIER CARD R7847 | CHEMEX | CHE-CONTROLLER-110VAC
000018 | IGNITION TRANSFORMER | DONGAN | F06-SA6 | 1 | -- | CONTROLLER | 220VAC | 1 | 2 | 4 | 2 | H-601,2,3 |  | CHEMEX | CHE-CONTROLLER-220VAC
000019 | BURNER CONTROLLER | RATIO TRONIC | RATIOTRONIC 6006 | 1 | -- | CONTROLLER | 110 VAC/ 250 VAC | 1 | 2 | 4 | 2 | BOILER | BOILER BURNER CONTROLLER | BOILER | BOI-CONTROLLER-110 VAC/ 250 VAC
000020 | SERVO MOTOR | RATIO TRONIC | RATIOTRONIC 6026 | 3 | -- | ACTUATOR | -- | 1 | 2 | 4 | 2 | BOILER | BOILER DAMPER SERVO MOTOR | BOILER | BOI-ACTUATOR---
000021 | PRESSURE SWITCH | RATIO TRONIC | GGW 150 A4/2X | 2 | 1/4 inch | SWITCH | 500 mbar | 1 | 2 | 4 | 2 | BOILER | BOILER SPARE ITEM | BOILER | BOI-SWITCH-500 mbar
000022 | LEVEL CONTROLLER | RATIO TRONIC | LC3050 | 2 | -- | CONTROLLER | 220VAC | 1 | 2 | 4 | 2 | BOILER | BOILER SPARE ITEM | BOILER | BOI-CONTROLLER-220VAC
000023 | VFD DISPLAY | DUNPHY | ETCRAT00755 | 1 | -- | DISPLAY | -- | 1 | 2 | 4 | 2 | BOILER |  | BOILER | BOI-DISPLAY---
000024 | PRESSURE TRANSMITTER | WIKA | A10 | 1 | 0.5 inch | PT | 0-10 bar | 1 | 2 | 4 | 2 | BOILER |  | BOILER | BOI-PT-0-10 bar
000025 | SOLENOID VALVE | SIEMENS | 321H2322 | 1 | 0.5 inch | SOLENOID | 30 BAR | 1 | 2 | 4 | 2 | BOILER |  | BOILER | BOI-SOLENOID-30 BAR
000026 | OVERLOAD RELAY | PARKER | 3RU2116-1JB0 | 1 | 0.5 inch | RELAY | 10 A | 1 | 2 | 4 | 2 | BOILER |  | BOILER | BOI-RELAY-10 A
000027 | MAGNETIC CONTACTOR | SIEMENS | 3RT2016-1APO1 | 1 | -- | CONTACTOR | 220VAC | 1 | 2 | 4 | 2 | BOILER |  | BOILER | BOI-CONTACTOR-220VAC
000028 | IGNITION TRANSFORMER | SIEMENS | ZA 20 100 LH 21 | 2 | -- | TRANSFORMER | 220VAC | 1 | 2 | 4 | 2 | BOILER |  | BOILER | BOI-TRANSFORMER-220VAC
000029 | IGNITION ROD |  |  | 2 | -- | IGNITION | -- | 1 | 2 | 4 | 2 | BOILER |  | BOILER | BOI-IGNITION---